Data Pre-processing and Outlier Management

Prior to statistical analysis, the respiration dataset was subjected to rigorous quality control procedures to ensure biological validity. A two-step filtering process was applied to remove signals indistinguishable from background noise (lower threshold) and values indicative of technical artifacts (upper threshold).

1. Lower Threshold: Definition of Limit of Detection To differentiate metabolically active coral spats from background bacterial respiration (noise), we analyzed the distribution of the lowest 10% of oxygen consumption rates. While a strict statistical Limit of Detection (LOD), calculated as the mean of the noise tail plus two standard deviations, suggested a cutoff of 0.214 nmol O₂ mm⁻² min⁻¹, we adopted a more conservative threshold of 0.1 nmol O₂ mm⁻² min⁻¹. This conservative approach was chosen to prevent the exclusion of biologically viable but metabolically depressed individuals (e.g., quiescent or smaller recruits). A sensitivity analysis confirmed that this threshold was robust; the statistical outcomes remained unchanged whether the strict (0.214) or conservative (0.1) cutoff was applied. Data points below 0.1 nmol O₂ mm⁻² min⁻² (n = 16) were classified as non-viable or below detection limits and excluded.

2. Upper Threshold: Identification of Technical Artifacts Upper-end outliers were identified using the Interquartile Range (IQR) method. The upper outer fence was defined as Q3 + 1.5 × IQR, resulting in a statistical cutoff of 2.12 nmol O₂ mm⁻² min⁻¹. Six data points exceeded this threshold. Upon inspection, five of these extreme values originated from a single experimental plate ("Plate D"). This clustering strongly suggested a technical artifact (e.g., sensor drift or micro-bubbles) rather than a biological hyper-metabolic state. Consequently, all values exceeding 2.12 nmol O₂ mm⁻² min⁻¹ were removed to prevent artificial inflation of group means and variances.

3. Impact on Statistical Assumptions The final validated dataset consisted of n = 150 individual measurements (from an initial n = 172). The removal of these artifacts significantly improved data quality; prior to filtering, the dataset violated the assumption of homogeneity of variance (Levene’s test: p = 0.006). Following the exclusion of the specific "Plate D" artifacts and noise, the variances became homogenous (Levene’s test: p = 0.86), satisfying the assumptions required for robust comparative analysis.